## Comparison of Best
Clustering Model | Linkage Method | Number of Clusters | Supervised Model | accuracy | precision | recall | f1_score | log loss
Agglomerative | Average | 15 | Bagging | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.26826
Agglomerative | Complete | 16 | Random Forest | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.37855
K-Means | - | 15 | Extremely Random Trees | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 1.2282
Agglomerative | Single | 20 | Bagging | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.19614
Agglomerative | Single | 25 | Gradient Boost | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.19786
VBGM | - | 19 | Gradient Boost | 0.94286 | 0.94903 | 0.94286 | 0.93889 | 0.45891
Agglomerative | Ward | 15 | Bagging | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.35178

## Average
| accuracy | precision | recall | f1_score | log loss | Model
decision_tree | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 2.9605 | AdaBoost
knn | 0.8 | 0.80952 | 0.8 | 0.80202 | 2.2643 | Bagging
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.51329 | Decision Tree
logistic_regression | 0.8 | 0.79429 | 0.8 | 0.78904 | 0.57081 | Extremely Random Trees
naive_bayse | 0.68571 | 0.74444 | 0.68571 | 0.68103 | 8.966 | Gradient Boost
random_forest | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.42625 | K-Nearest Neighbours (KNN)
extremely_random_trees | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 1.1616 | Kernel SVM
bagging | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.26826 | Logistic Regression
adaboost | 0.48571 | 0.37206 | 0.48571 | 0.40967 | 1.8523 | Naive Bayse
gradientboost | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.44483 | Random Forest

## Complete
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.88571 | 0.90952 | 0.88571 | 0.8821 | 3.9473
knn | 0.85714 | 0.88571 | 0.85714 | 0.8616 | 1.2756
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.50969
logistic_regression | 0.8 | 0.79683 | 0.8 | 0.78933 | 0.83793
naive_bayse | 0.65714 | 0.70476 | 0.65714 | 0.64286 | 9.0515
random_forest | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.37855
extremely_random_trees | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 1.1017
bagging | 0.91429 | 0.92857 | 0.91429 | 0.91284 | 0.30294
adaboost | 0.54286 | 0.52381 | 0.54286 | 0.49371 | 1.1613
gradientboost | 0.88571 | 0.91429 | 0.88571 | 0.88936 | 0.49072

## K-Means
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 2.9605
knn | 0.8 | 0.83452 | 0.8 | 0.80289 | 1.3036
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.52131
logistic_regression | 0.82857 | 0.80087 | 0.82857 | 0.8053 | 0.46667
naive_bayse | 0.65714 | 0.69293 | 0.65714 | 0.62735 | 9.9665
random_forest | 0.88571 | 0.91429 | 0.88571 | 0.88936 | 0.462
extremely_random_trees | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 1.2282
bagging | 0.88571 | 0.91429 | 0.88571 | 0.88936 | 0.31506
adaboost | 0.54286 | 0.52381 | 0.54286 | 0.49371 | 1.1456
gradientboost | 0.88571 | 0.91429 | 0.88571 | 0.88936 | 0.72445

## Single20
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 1.9736
knn | 0.91429 | 0.92641 | 0.91429 | 0.91425 | 1.2375
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.53473
logistic_regression | 0.8 | 0.77022 | 0.8 | 0.77681 | 0.49059
naive_bayse | 0.57143 | 0.62794 | 0.57143 | 0.52474 | 13.9038
random_forest | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.3103
extremely_random_trees | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 1.0546
bagging | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.19614
adaboost | 0.54286 | 0.52381 | 0.54286 | 0.49371 | 1.1456
gradientboost | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.21361

## Single25
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 1.9736
knn | 0.91429 | 0.92641 | 0.91429 | 0.91425 | 1.2521
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.5244
logistic_regression | 0.82857 | 0.80087 | 0.82857 | 0.8053 | 0.46398
naive_bayse | 0.6 | 0.63261 | 0.6 | 0.53962 | 13.0131
random_forest | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.30357
extremely_random_trees | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 1.0532
bagging | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.20647
adaboost | 0.54286 | 0.52381 | 0.54286 | 0.49371 | 1.1456
gradientboost | 0.94286 | 0.95238 | 0.94286 | 0.94487 | 0.19786

## VBGM
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.94286 | 0.95498 | 0.94286 | 0.94446 | 1.9736
knn | 0.8 | 0.81524 | 0.8 | 0.79725 | 3.2033
kernel_svm | 0.8 | 0.80801 | 0.8 | 0.78179 | 0.49862
logistic_regression | 0.77143 | 0.73905 | 0.77143 | 0.74914 | 0.68185
naive_bayse | 0.62857 | 0.7129 | 0.62857 | 0.62027 | 8.861
random_forest | 0.91429 | 0.92641 | 0.91429 | 0.91222 | 0.34483
extremely_random_trees | 0.91429 | 0.92641 | 0.91429 | 0.91222 | 0.19848
bagging | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.23907
adaboost | 0.74286 | 0.72789 | 0.74286 | 0.7227 | 1.6847
gradientboost | 0.94286 | 0.94903 | 0.94286 | 0.93889 | 0.45891

## Ward
| accuracy | precision | recall | f1_score | log loss
decision_tree | 0.91429 | 0.92641 | 0.91429 | 0.91222 | 2.9605
knn | 0.74286 | 0.75714 | 0.74286 | 0.74575 | 1.3728
kernel_svm | 0.82857 | 0.82182 | 0.82857 | 0.81011 | 0.52095
logistic_regression | 0.8 | 0.79515 | 0.8 | 0.78482 | 0.50654
naive_bayse | 0.68571 | 0.74444 | 0.68571 | 0.68103 | 8.9703
random_forest | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 1.3143
extremely_random_trees | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 2.062
bagging | 0.91429 | 0.93095 | 0.91429 | 0.9144 | 0.35178
adaboost | 0.48571 | 0.37133 | 0.48571 | 0.40974 | 1.8667
gradientboost | 0.88571 | 0.91429 | 0.88571 | 0.88936 | 0.89898

## Cluster Model Comparison
Model | Optimal Number of Clusters | Linkage | Selected For Comparison | Reason | Model | Number of Clusters | Silhouette Score
Agglomerative | 15 | Average | Yes | - Relatively good Sihlouette Score - Clear visible delineation of plotted central clusters | Agglomerative with Average Linkage | 15 | 0.46548
Agglomerative | 16 | Complete | Yes | - Reasonable Sihlouette Score - Clear visible delineation of plotted central clusters | Agglomerative with Complete Linkage | 16 | 0.45442
Agglomerative | 20 | Single | Yes | - Best visual identification of plotted clusters | Agglomerative with Single Linkage | 20 | 0.26601
Agglomerative | 25 | Single | Yes | - Best visual identification of plotted clusters | Agglomerative with Single Linkage | 25 | 0.17752
Agglomerative | 15 | Ward | Yes | - Relatively good Sihlouette Score - Clear visible delineation of plotted central clusters | Agglomerative with Ward Linkage | 15 | 0.47579
DBSCAN | - | - | No | - Poor sihlouette score - Ploted clusters not representative of visible groupings | K-Means | 15 | 0.50091
Fuzzy C-Means | 35 | - | No | - Relatively low sihlouette score - Ploted clusters not representative of visible groupings | Variational Bayesian Estimation of a Gaussian Mixture | 19 | 0.43296
Gaussian Mixture Models | 25 | - | No | - Unable to generate sufficiently small groupings of ploted clusters within central clusters at a reasonable number of clusters
HDBSCAN | - | - | No | - Poor sihlouette score - Ploted clusters not representative of visible groupings
K-Means | 15 | - | Yes | - Best Sihlouette Score - Clear visible delineation of plotted central clusters
Meanshift | - | - | No | - Poor sihlouette score - Ploted clusters not representative of visible groupings
Variational Bayesian Estimation of a Gaussian Mixture | 19 | - | Yes | - Reasonable Sihlouette Score - Clear visible delineation of plotted central clusters

## Predicted End-Uses
uniqueId | endUseLabel
Heating Plant HX-1 P-HX1A Hydronic Systems Energy HX1_PHX1A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | End Use Category | Sensor Count | % of Sensors
Heating Plant HX-1 P-HX1B Hydronic Systems Energy HX1_PHX1B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 00_HEATING_SPACE_AND_WATER | 54 | 25.96%
Heating Plant HX-3 P-HX3A Hydronic Systems Energy HX3_PHX3A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 01_SPACE_COOLING | 35 | 16.83%
Heating Plant HX-3 P-HX3B Hydronic Systems Energy HX3_PHX3B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 02_HEATING_COOLING_COMBINED | 39 | 18.75%
Heating Plant P-4A Hydronic Systems Energy HTREJ_P4A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 03_LIGHTING_NORMAL | 26 | 12.5%
Heating Plant P-4B Hydronic Systems Energy HTREJ_P4B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 04_LIGHTING_EMERGENCY | 10 | 4.808%
Heating Plant P-4C Hydronic Systems Energy HTREJ_P4C_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | 05_OTHER | 44 | 21.15%
Heating Plant P-8A Hydronic Systems Energy HTREJ_P8A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER | Total | 208 | 100%
Heating Plant P-8B Hydronic Systems Energy HTREJ_P8B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-1 Utilities Energy FM1_BTU_EF1_2_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-10 Utilities Energy FM10_BTU_P4ABC_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-12 Utilities Energy FM12_BTU_HX7_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-2 Utilities Energy FM2_BTU_EF3_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-3 Utilities Energy MV_PHARM_FM3_BTU_EF4_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-4 Utilities Energy FM4_BTU_CT_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-6 Utilities Energy FM6_BTU_P9_CRAH1~3_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-7 Utilities Energy FM7_BTU_P7_DATA_CTR_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-8 Utilities Energy FM8_BTU_P5AB_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
HW Submeters FM-9 Utilities Energy FM9_BTU_CRAH4~6_ENERGY(kWh)_TL | 00_HEATING_SPACE_AND_WATER
Heating Plant HX-2 P-HX2A Hydronic Systems Energy HX2_PHX2A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
Heating Plant HX-2 P-HX2B Hydronic Systems Energy HX2_PHX2B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
Heating Plant BLR-1 Hydronic Systems BLR1_GFLW_FLOW BLR1_GFLW_FLOW | 00_HEATING_SPACE_AND_WATER
Heating Plant BLR-2 Hydronic Systems BLR2_GFLW_FLOW BLR2_GFLW_FLOW | 00_HEATING_SPACE_AND_WATER
Heating Plant BLR-3 Hydronic Systems BLR3_GFLW_FLOW BLR3_GFLW_FLOW | 00_HEATING_SPACE_AND_WATER
Heating Plant BLR-4 Hydronic Systems BLR4_GFLW_FLOW BLR4_GFLW_FLOW | 00_HEATING_SPACE_AND_WATER
Gas Submeters BLR-2 Gas Meter Utilities BLR2_GFLW_DAY BLR2_GFLW_DAY | 00_HEATING_SPACE_AND_WATER
Gas Submeters BLR-1Gas Meter Utilities BLR1_GFLW_DAY BLR1_GFLW_DAY | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCA Utilities Energy Hybrid Energy Hybrid | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCB Utilities Energy Hybrid Energy Hybrid | 00_HEATING_SPACE_AND_WATER
Elec Submeters PA Utilities Energy Hybrid Energy Hybrid | 00_HEATING_SPACE_AND_WATER
Elec Submeters PB Utilities Energy Hybrid Energy Hybrid | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCA Utilities Energy Energy | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCB Utilities Energy Energy | 00_HEATING_SPACE_AND_WATER
Elec Submeters PA Utilities Energy Energy | 00_HEATING_SPACE_AND_WATER
Elec Submeters PB Utilities Energy Energy | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCA Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
Elec Submeters PA Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
Elec Submeters PB Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
Elec Submeters DCB Utilities Energy OPC Copy Energy OPC Copy | 00_HEATING_SPACE_AND_WATER
Cooling Plant CT-1A Hydronic Systems Energy CT1A_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
Cooling Plant CT-1B Hydronic Systems Energy CT1B_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
Cooling Plant CT-1C Hydronic Systems Energy CT1C_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
DCA Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
DCB Utilities Energy OPC Copy Energy OPC Copy | 00_HEATING_SPACE_AND_WATER
EF-2 EF-2A Air Systems Energy EF2_F1_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
EF-2 EF-2B Air Systems Energy EF2_F2_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
EF-2 EF-2C Air Systems Energy EF2_F3_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
EF-3 EF-3A Air Systems Energy EF3_F1_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
EF-3 EF-3B Air Systems Energy EF3_F2_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
EF-3 EF-3C Air Systems Energy EF3_F3_VFD_PWR(kWh) | 00_HEATING_SPACE_AND_WATER
FM-10 BTU Meter Energy FM10_BTU_P4ABC_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
FM-10 Utilities Energy FM10_BTU_P4ABC_ENERGY(kWh) | 00_HEATING_SPACE_AND_WATER
PA Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
PB Utilities Energy OPC Energy OPC | 00_HEATING_SPACE_AND_WATER
CT-1A Hydronic Systems Energy CT1A_VFD_PWR(kWh) | 01_SPACE_COOLING
CT-1B Hydronic Systems Energy CT1B_VFD_PWR(kWh) | 01_SPACE_COOLING
CT-1C Hydronic Systems Energy CT1C_VFD_PWR(kWh) | 01_SPACE_COOLING
Cooling Plant P-5A Hydronic Systems Energy CHWP_P5A_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-5B Hydronic Systems Energy CHWP_P5B_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-5C Hydronic Systems Energy CHWP_P5C_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-7A Hydronic Systems Energy CHWP_P7A_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-7B Hydronic Systems Energy CHWP_P7B_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-9A Hydronic Systems Energy CHWP_P9A_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Cooling Plant P-9B Hydronic Systems Energy CHWP_P9B_VFD_PWR(kWh)_TL | 01_SPACE_COOLING
Elec Submeters LEED-CH-1 Utilities CH-1_EnergyPosSum CH-1_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-CH-1 Utilities CH-1_EnergyPosSumNR CH-1_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-CH-2 Utilities CH-2_EnergyPosSum CH-2_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-CH-2 Utilities CH-2_EnergyPosSumNR CH-2_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-CH-3 Utilities CH-3_EnergyPosSum CH-3_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-CH-3 Utilities CH-3_EnergyPosSumNR CH-3_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-CH-4 Utilities CH-4_EnergyPosSum CH-4_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-CH-4 Utilities CH-4_EnergyPosSumNR CH-4_EnergyPosSumNR | 01_SPACE_COOLING
Cooling Plant Hydronic Systems Energy CHLR_CH1_PWR(kWh) | 01_SPACE_COOLING
Cooling Plant Hydronic Systems Energy CHLR_CH2_PWR(kWh) | 01_SPACE_COOLING
Cooling Plant Hydronic Systems Energy CHLR_CH3_PWR(kWh) | 01_SPACE_COOLING
Cooling Plant Hydronic Systems Energy CHLR_CH4_PWR(kWh) | 01_SPACE_COOLING
Elec Submeters LEED-ATS-DCA Utilities ATS-DCA_EnergyPosSum ATS-DCA_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-ATS-DCA Utilities ATS-DCA_EnergyPosSumNR ATS-DCA_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-ATS-DCB Utilities ATS-DCB_EnergyPosSum ATS-DCB_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-ATS-DCB Utilities ATS-DCB_EnergyPosSumNR ATS-DCB_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-ATS-S1 Utilities ATS-S1_EnergyPosSum ATS-S1_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-ATS-S1 Utilities ATS-S1_EnergyPosSumNR ATS-S1_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-LV-DCA Utilities LV-DCA_EnergyPosSumNR LV-DCA_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-LV-DCB Utilities LV-DCB_EnergyPosSum LV-DCB_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-LV-DCB Utilities LV-DCB_EnergyPosSumNR LV-DCB_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-LV-PA Utilities LV-PA_EnergyPosSum LV-PA_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-LV-PA Utilities LV-PA_EnergyPosSumNR LV-PA_EnergyPosSumNR | 01_SPACE_COOLING
Elec Submeters LEED-LV-PB Utilities LV-PB_EnergyPosSum LV-PB_EnergyPosSum | 01_SPACE_COOLING
Elec Submeters LEED-LV-PB Utilities LV-PB_EnergyPosSumNR LV-PB_EnergyPosSumNR | 01_SPACE_COOLING
AHU-01 SF Air Systems Energy AHU1_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-02 SF Air Systems Energy AHU2_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-03 SF Air Systems Energy AHU3_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-04 SF Air Systems Energy AHU4_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-05 SF Air Systems Energy AHU5_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-06 SF Air Systems Energy AHU6_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-07 SF Air Systems Energy AHU7_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-08 SF Air Systems Energy AHU8_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-09 RF Air Systems Energy AHU9_RF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-09 SF Air Systems Energy AHU9_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-14 SF Air Systems Energy AHU14_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-15 SF Air Systems Energy AHU15_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-17 SF Air Systems Energy AHU17_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-18 RF Air Systems Energy AHU18_RF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-18 SF Air Systems Energy AHU18_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
EF-22 Air Systems Energy EF_22_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 4202 EF-26 Floor 4 Energy EF_26_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 4202A EF-25 Floor 4 Energy EF_25_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 4312A EF-32 Floor 4 Energy EF_32_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 5206B EF-23 Floor 5 Energy EF_23_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 5206C EF-24 Floor 4 Energy EF_24_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 6203G EF-13 Floor 6 Energy EF_13_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 6206B EF-11 Floor 6 Energy EF_11_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 6206D EF-12 Floor 6 Energy EF_12_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm B409B EF-33 Floor 0 Energy EF_33_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm B503 EF-34 Floor 0 Energy EF_34_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm B605 EF-35 Floor 0 Energy EF_35_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-10 RF Air Systems Energy AHU10_RF_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-10 SF Air Systems Energy AHU10_SF_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-13 Air Systems Energy AHU13_SF_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-16 Air Systems Energy AHU16_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
EF-27 Air Systems Energy EF_27_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 4312B EF-28 Floor 4 Energy EF_28_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Rm 6102 EF-07 Floor 6 Energy EF_07_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
Rm 6102 EF-08 Floor 6 Energy EF_08_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-20 Air Systems Energy AHU20_SF_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-19 Air Systems Energy AHU19_SF_VFD_PWR(kWh)_TL | 02_HEATING_COOLING_COMBINED
AHU-19 Air Systems Energy AHU19_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
AHU-20 Air Systems Energy AHU20_SF_VFD_PWR(kWh) | 02_HEATING_COOLING_COMBINED
Elec Submeters LEED-6DCLA Utilities 6DCLA_EnergyPosSum 6DCLA_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6DCLA Utilities 6DCLA_EnergyPosSumNR 6DCLA_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N2LE1 Utilities 6N2LE1_EnergyPosSum 6N2LE1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N2LE1 Utilities 6N2LE1_EnergyPosSumNR 6N2LE1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N3LO1 Utilities 6N3LO1_EnergyPosSum 6N3LO1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N3LO1 Utilities 6N3LO1_EnergyPosSumNR 6N3LO1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LC1 Utilities 6N4LC1_EnergyPosSum 6N4LC1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LC1 Utilities 6N4LC1_EnergyPosSumNR 6N4LC1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LE1 Utilities 6N4LE1_EnergyPosSum 6N4LE1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LE1 Utilities 6N4LE1_EnergyPosSumNR 6N4LE1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LW1 Utilities 6N4LW1_EnergyPosSum 6N4LW1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N4LW1 Utilities 6N4LW1_EnergyPosSumNR 6N4LW1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LC1 Utilities 6N6LC1_EnergyPosSum 6N6LC1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LC1 Utilities 6N6LC1_EnergyPosSumNR 6N6LC1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LE1 Utilities 6N6LE1_EnergyPosSum 6N6LE1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LE1 Utilities 6N6LE1_EnergyPosSumNR 6N6LE1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LW1 Utilities 6N6LW1_EnergyPosSum 6N6LW1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6N6LW1 Utilities 6N6LW1_EnergyPosSumNR 6N6LW1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6NBLC1 Utilities 6NBLC1_EnergyPosSum 6NBLC1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6NBLC1 Utilities 6NBLC1_EnergyPosSumNR 6NBLC1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6NBLW1 Utilities 6NBLW1_EnergyPosSum 6NBLW1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-6NBLW1 Utilities 6NBLW1_EnergyPosSumNR 6NBLW1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-G1 Utilities G1_EnergyPosSum G1_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-G1 Utilities G1_EnergyPosSumNR G1_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-TBIRD_PARK_S2 Utilities TBIRD_PARK_S2_EnergyPosSum TBIRD_PARK_S2_EnergyPosSum | 03_LIGHTING_NORMAL
Elec Submeters LEED-TBIRD_PARK_S2 Utilities TBIRD_PARK_S2_EnergyPosSumNR TBIRD_PARK_S2_EnergyPosSumNR | 03_LIGHTING_NORMAL
Elec Submeters LEED-6EBLW1 Utilities 6EBLW1_EnergyPosSum 6EBLW1_EnergyPosSum | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6EBLW1 Utilities 6EBLW1_EnergyPosSumNR 6EBLW1_EnergyPosSumNR | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLC1 Utilities 6ETLC1_EnergyPosSum 6ETLC1_EnergyPosSum | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLC1 Utilities 6ETLC1_EnergyPosSumNR 6ETLC1_EnergyPosSumNR | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLE1 Utilities 6ETLE1_EnergyPosSum 6ETLE1_EnergyPosSum | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLE1 Utilities 6ETLE1_EnergyPosSumNR 6ETLE1_EnergyPosSumNR | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLW1 Utilities 6ETLW1_EnergyPosSum 6ETLW1_EnergyPosSum | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-6ETLW1 Utilities 6ETLW1_EnergyPosSumNR 6ETLW1_EnergyPosSumNR | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-TBIRD_PARK_E1 Utilities TBIRD_PARK_E1_EnergyPosSum TBIRD_PARK_E1_EnergyPosSum | 04_LIGHTING_EMERGENCY
Elec Submeters LEED-TBIRD_PARK_E1 Utilities TBIRD_PARK_E1_EnergyPosSumNR TBIRD_PARK_E1_EnergyPosSumNR | 04_LIGHTING_EMERGENCY
LEF-2 EF-2A Air Systems Energy EF2_F1_VFD_PWR(kWh) | 05_OTHER
LEF-2 EF-2B Air Systems Energy EF2_F2_VFD_PWR(kWh) | 05_OTHER
LEF-2 EF-2C Air Systems Energy EF2_F3_VFD_PWR(kWh) | 05_OTHER
LEF-3 EF-3A Air Systems Energy EF3_F1_VFD_PWR(kWh) | 05_OTHER
LEF-3 EF-3B Air Systems Energy EF3_F2_VFD_PWR(kWh) | 05_OTHER
LEF-3 EF-3C Air Systems Energy EF3_F3_VFD_PWR(kWh) | 05_OTHER
Elec Submeters LEED-2N1PC3 Utilities 2N1PC3_EnergyPosSum 2N1PC3_EnergyPosSum | 05_OTHER
Elec Submeters LEED-2N1PC3 Utilities 2N1PC3_EnergyPosSumNR 2N1PC3_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6DCMA Utilities 6DCMA_EnergyPosSum 6DCMA_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6DCMA Utilities 6DCMA_EnergyPosSumNR 6DCMA_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6NBME1 Utilities 6NBME1_EnergyPosSum 6NBME1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6NBME1 Utilities 6NBME1_EnergyPosSumNR 6NBME1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6NBMW1 Utilities 6NBMW1_EnergyPosSum 6NBMW1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6NBMW1 Utilities 6NBMW1_EnergyPosSumNR 6NBMW1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6NRMC1 Utilities 6NRMC1_EnergyPosSum 6NRMC1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6NRMC1 Utilities 6NRMC1_EnergyPosSumNR 6NRMC1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6NRME1 Utilities 6NRME1_EnergyPosSum 6NRME1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6NRME1 Utilities 6NRME1_EnergyPosSumNR 6NRME1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6NRMW1 Utilities 6NRMW1_EnergyPosSum 6NRMW1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6NRMW1 Utilities 6NRMW1_EnergyPosSumNR 6NRMW1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6SBME1 Utilities 6SBME1_EnergyPosSum 6SBME1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6SBME1 Utilities 6SBME1_EnergyPosSumNR 6SBME1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6SBMW1 Utilities 6SBMW1_EnergyPosSum 6SBMW1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6SBMW1 Utilities 6SBMW1_EnergyPosSumNR 6SBMW1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6SRMC1 Utilities 6SRMC1_EnergyPosSum 6SRMC1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6SRMC1 Utilities 6SRMC1_EnergyPosSumNR 6SRMC1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6SRME1 Utilities 6SRME1_EnergyPosSum 6SRME1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6SRME1 Utilities 6SRME1_EnergyPosSumNR 6SRME1_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-6SRMW1 Utilities 6SRMW1_EnergyPosSum 6SRMW1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-6SRMW1 Utilities 6SRMW1_EnergyPosSumNR 6SRMW1_EnergyPosSumNR | 05_OTHER
LEF-1 EF-1A Air Systems Energy EF1_F1_VFD_PWR(kWh) | 05_OTHER
LEF-1 EF-1B Air Systems Energy EF1_F2_VFD_PWR(kWh) | 05_OTHER
LEF-1 EF-1C Air Systems Energy EF1_F3_VFD_PWR(kWh) | 05_OTHER
LEF-4 EF-4A Air Systems Energy EF4_F1_VFD_PWR(kWh)_TL | 05_OTHER
LEF-4 EF-4B Air Systems Energy EF4_F2_VFD_PWR(kWh)_TL | 05_OTHER
Elec Submeters LEED-ATS-S3 Utilities ATS-S3_EnergyPosSum ATS-S3_EnergyPosSum | 05_OTHER
Elec Submeters LEED-ATS-S3 Utilities ATS-S3_EnergyPosSumNR ATS-S3_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-LV-DCA Utilities LV-DCA_EnergyPosSum LV-DCA_EnergyPosSum | 05_OTHER
Elec Submeters LEED-S2 Utilities S2_EnergyPosSum S2_EnergyPosSum | 05_OTHER
Elec Submeters LEED-S2 Utilities S2_EnergyPosSumNR S2_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-TBIRD_PARK_LV-PB Utilities TBIRD_PARK_LV-PB_EnergyPosSum TBIRD_PARK_LV-PB_EnergyPosSum | 05_OTHER
Elec Submeters LEED-TBIRD_PARK_LV-PB Utilities TBIRD_PARK_LV-PB_EnergyPosSumNR TBIRD_PARK_LV-PB_EnergyPosSumNR | 05_OTHER
Elec Submeters LEED-TX-E1C1 Utilities TX-E1C1_EnergyPosSum TX-E1C1_EnergyPosSum | 05_OTHER
Elec Submeters LEED-TX-E1C1 Utilities TX-E1C1_EnergyPosSumNR TX-E1C1_EnergyPosSumNR | 05_OTHER